{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["vlezniPodatoci","Rezultati","Iteracii","baterii"],"not_rendered":{"charts":0,"images":3,"macros":1,"external_links":0,"defined_names":20,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"vlezniPodatoci","index":0,"n_rows":9,"n_cols":18,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["naponi_cs_rdm-V02",null,null,"Гранки","Poc","Kraj","L (km)","r (Ω/km)","x (Ω/km)","g (μS/km)","b (μS/km)",null,"Јазли","Pload (kW)","Qload (kvar)","Pgen (kW)","Qgen (kvar)","Qkbat (kvar)"]
["Датотека"]
["Напоен јазол"]
["Unom (kV)"]
["Sb (kVA)",1000]
["U0 (p.u.)"]
["eps (kVA, kV)"]
["Рамен старт"]
["Тест за конвергенција","dS"]

{"sheet":"Rezultati","index":1,"n_rows":17,"n_cols":26,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
["2020-10-25T19:59:06",{"$f":"IF(TRIM(fileName)<>\"\",fileName,\"?\")","v":"?"},null,"Јазли","Име","Извод","P (kW)","Q (kvar)","Qkb (kvar)","Ur (kV)","Ui (kV)","U (kV)","θ (°)","ΔU%",null,"Гранки","Извод","Pкрај (kW)","Qкрај (kvar)","ΔP (kW)","ΔQ (kvar)","I (A)","R (p.u.)","X (p.u.)","G' (p.u.)","B' (p.u.)"]
["Итерации",0]
["Pвкупно (kW)",0]
["ΔP (kW)",0]
["Pопт. (kW)",0]
["Pген. (kW)",0]
["ΔP",{"$f":"IF(Ptotal<>0,dP/ABS(Ptotal),0)","v":0}]
["ΔUmin",{"$f":"MIN(N:N)/100","v":0}]
["ΔUmax",{"$f":"MAX(N:N)/100","v":0}]
["Imax (A)",{"$f":"MAX(V:V)","v":0}]
["Qвкупно (kvar)",0]
["ΔQ (kvar)",0]
["Qопт. (kvar)",0]
["Qген. (kvar)",0]
["Рамен старт",0]
["Тест за конвергенција","dS"]
["eps (p.u.)",{"$f":"IF(convTest=\"dS\",eps/Sb,eps/Ub)","v":0}]

{"sheet":"Iteracii","index":2,"n_rows":2,"n_cols":21,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
[null,null,"Backward sweep",null,null,null,null,null,null,null,null,null,null,null,null,null,"Forward sweep"]
["eps (p.u.)",1.0000000474974513E-3,"јазол","Ur (p.u.)","Ui (p.u.)","Jr (p.u.)","Ji (p.u.)",null,"гранка","Ir (p.u.)","Ii (p.u.)","Pкрај (p.u.)","Qкрај (p.u.)","ΔP (p.u.)","ΔQ (p.u.)",null,"јазол","Ur (p.u.)","Ui (p.u.)","|Δur| (p.u.)","|Δui| (p.u.)"]

{"sheet":"baterii","index":3,"n_rows":12,"n_cols":24,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
[null,null,null,"Гранки","Извод","Pкрај (kW)","Qкрај (kvar)","ΔP (kW)","ΔQ (kvar)","Ir (A)","Ii (A)","I (A)","R (Ω)","L (km)",null,"Ir1","Ir2","k","a","d1 (km)","Ikom. (A)","Qkb (kvar)","ΔPr (kW)","ΔPr' (kW)"]
["Итерации",4]
["Pвкупно (kW)",{"$f":"Ptotal","v":0}]
["ΔP (kW)",{"$f":"dP","v":0}]
["Pопт. (kW)",{"$f":"Popt","v":0}]
["Pген. (kW)",{"$f":"Pgen","v":0}]
["ΔP",{"$f":"IF(Ptotal<>0,dP/ABS(Ptotal),0)","v":0}]
[]
["Qвкупно (kvar)",{"$f":"Qtotal","v":0}]
["ΔQ (kvar)",{"$f":"dQ","v":0}]
["Qопт. (kvar)",{"$f":"Qopt","v":0}]
["Qген. (kvar)",{"$f":"Qgen","v":0}]